## Sheet1
WDS NETWORKS DATABASE
System Name | Contributor | Committee Member Responsible for Gathering System Data | Website | Physical Attributes | Schematic Diagram | Type of System | Network Geometry Data | GIS Data File | Background Map | Elevation Data | Pipe Data | # of Pipes | Pipe Material | Pipe Age | Pipe Pressure Class | Nominal or Actual Diameters | Pump Data | # of Pump Stations | # of Pumps | Useful Horsepower | Pump Operating Curves | Reservoir Data | # of Reservoirs | Tank Data | # of Tanks | Elevation Data | Stage Storage Curves | Water Quality Information | Valve Data | # of PRVs | # of PSVs | # of FCVs | PRV/FCV Data | Isolation Valve Data | Hydrant Data | Demand Data | Total System Demand - ADD (MGD) | Nodal Demand Data | # of Nodes | Temporal Data Demands | System Leakage | Hydraulic Data | Hydraulically Calibrated Model | Field Hydraulic Calibration Data | Water Quality Data | Single Species or Multi-Species | Disinfection Method | Chlorine Residual Data | Booster Station Data | Fluoride/Chloride Field Data | Water Quality Calibrated Model | Operational Data | SCADA Datasets | Operational Rules | Average Daily Demand per node
KY (KY 1) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Grid | Yes | Yes | Yes | Yes | Yes | 984 | Yes | Yes | No | Yes | Yes | NA | 1 | Yes | No | Yes | 1 | Yes | 2 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2 | Yes | 858 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.002331
KY (KY 2) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Grid | Yes | Yes | Yes | Yes | Yes | 1124 | Yes | Yes | No | Yes | Yes | NA | 1 | Yes | No | Yes | 1 | Yes | 3 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.09 | Yes | 814 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0025676
KY (KY 3) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Grid | Yes | Yes | Yes | Yes | Yes | 366 | Yes | Yes | No | Yes | Yes | NA | 5 | Yes | No | Yes | 3 | Yes | 3 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.02 | Yes | 270 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0074815
KY (KY 4) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 1156 | Yes | Yes | No | Yes | Yes | NA | 2 | Yes | No | Yes | 1 | Yes | 4 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.51 | Yes | 962 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0015696
KY (KY 5) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 496 | Yes | Yes | No | Yes | Yes | NA | 9 | Yes | No | Yes | 4 | Yes | 3 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.28 | Yes | 418 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0054545
KY (KY 6) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 644 | Yes | Yes | No | Yes | Yes | NA | 2 | Yes | No | Yes | 2 | Yes | 3 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.56 | Yes | 545 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0028624
KY (KY 7) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Grid | Yes | Yes | Yes | Yes | Yes | 603 | Yes | Yes | No | Yes | Yes | NA | 1 | Yes | No | Yes | 1 | Yes | 3 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.53 | Yes | 484 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0031612
KY (KY 8) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 1614 | Yes | Yes | No | Yes | Yes | NA | 4 | Yes | No | Yes | 2 | Yes | 5 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.47 | Yes | 1319 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0018726
KY (KY 9) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Branch | Yes | Yes | Yes | Yes | Yes | 1270 | Yes | Yes | No | Yes | Yes | NA | 15 | Yes | No | Yes | 4 | Yes | 15 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.38 | Yes | 1096 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0012591
KY (KY 10) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Branch | Yes | Yes | Yes | Yes | Yes | 1043 | Yes | Yes | No | Yes | Yes | NA | 13 | Yes | No | Yes | 2 | Yes | 13 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.26 | Yes | 917 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0024646
KY (KY 11) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Branch | Yes | Yes | Yes | Yes | Yes | 846 | Yes | Yes | No | Yes | Yes | NA | 21 | Yes | No | Yes | 1 | Yes | 28 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.93 | Yes | 795 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0024277
KY (KY 12) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Branch | Yes | Yes | Yes | Yes | Yes | 2426 | Yes | Yes | No | Yes | Yes | NA | 15 | Yes | No | Yes | 1 | Yes | 7 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.38 | Yes | 2318 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.00059534
KY (KY 13) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 940 | Yes | Yes | No | Yes | Yes | NA | 4 | Yes | No | Yes | 2 | Yes | 5 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.36 | Yes | 780 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0030256
KY (KY 14) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Grid | Yes | Yes | Yes | Yes | Yes | 548 | Yes | Yes | No | Yes | Yes | NA | 6 | Yes | No | Yes | 4 | Yes | 3 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.04 | Yes | 378 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0027513
KY (KY 15) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Branch | Yes | Yes | Yes | Yes | Yes | 671 | Yes | Yes | No | Yes | Yes | NA | 13 | Yes | No | Yes | 2 | Yes | 8 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.52 | Yes | 633 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0024013
KY (KY 16) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 902 | Yes | Yes | No | Yes | Yes | NA | 7 | Yes | No | Yes | 3 | Yes | 4 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1.21 | Yes | 1727 | Yes | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.00070064
KY (KY 17) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 6567 | Yes | Yes | No | Yes | Yes | 1 | 5 | Yes | Yes | Yes | 1 | Yes | 3 | Yes | Yes | Yes | Yes | 0 | 0 | 0 | No | 3489 | Yes | Yes | 2.91 | Yes | 18280 | Yes | No | Yes | Yes | Yes | Yes | N/A | Yes | No | No | Yes | Yes | Yes | No | Yes | 0.00015919
KY (KY18) | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 910 | Yes | Yes | No | Yes | Yes | 2 | 3 | Yes | Yes | Yes | 2 | Yes | 3 | Yes | Yes | No | Yes | 0 | 0 | 0 | No | 465 | Yes | Yes | 1.84 | Yes | 3056 | Yes | No | Yes | Yes | Yes | No | N/A | Yes | No | No | No | No | Yes | No | Yes | 0.00060209
FOWM - Federally Owned Water Main System | Univ. of KY | Ormsbee/Hoagland |  | Yes | Yes | Loop | Yes | Yes | Yes | Yes | Yes | 22 | No | No | No | Yes | NA | 0 | 0 | NA | NA | Yes | 1 | Yes | 0 | Yes | Yes | No | No | 0 | 0 | 0 | No | No | No | No | 5 | Yes | 17 | Yes | No | Yes | Yes | Yes | No | N/A | No | No | No | No | No | Yes | No | Yes | 0.29412
Cherry Hills/Brushy Plains, New Haven, CT (Net 2) | Lew Rossman, EPA
North Marion Water District, Novato, CA (Net 3) | Lew Rossman, EPA
Bellingham, WA (Dakin Yew Zone) | Dominic Boccelli, UC
Fairfield, CA (Rancho Solano Zone 3) | Dominic Boccelli, UC
North Penn Water Authority System | Dominic Boccelli, UC
Harrisburg, PA (Oberlin) | Dominic Boccelli, UC
New York Tunnel System | Schaake and Lai (1969) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 21 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 1305 | Yes | 19 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 68.6842
Hanoi System | Fuiwara and Khang (1990) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 34 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 126.54 | Yes | 31 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 4.0819
Toms River, New Jersey | Morris Maslia, ATSDR
2 Loop System | Alperovits & Shamir
Don Wood System | Don Wood
Any-town System | Tom Walski
Battle of the Water Sensor Networks | Avi Ostfeld
Battle of the Calibration Networks System | Avi Ostfeld
Micropolis | Texas A&M Univ.
Mesopolis | Texas A&M Univ.
WDS-Designer | Mair and Sitzenfrei | Sitzenfrei
DynaVIBe-Web | Mair and Sitzenfrei | Mair | http://web01-c815.uibk.ac.at/.
WSS_set_2280 | Sitzenfrei | Sitzenfrei
Exnet System | Univ. of Exeter
Modified New York Tunnels | Bi and Dandy (2014) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 21 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | Yes | No | 0 | 0 | 0 | No | No | No | Yes | 961.58 | Yes | 19 | Yes | No | Yes | No | No | Yes | Single | Yes | Yes | No | No | No | No | No | No | 50.6095
Jilin Network | Bi and Dandy (2014) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 34 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | Yes | No | 0 | 0 | 0 | No | No | No | Yes | 6.66 | Yes | 27 | Yes | No | Yes | No | No | Yes | Single | Yes | Yes | No | No | No | No | No | No | 0.24667
Rural Network | Marchi et al (2012) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 476 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 2 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 2.21 | Yes | 379 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0058311
Extended Hanoi | Bi, Dandy and Maier (2015) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 34 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 126.54 | Yes | 31 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 4.0819
Fosspoly1 | Bragalli et al (2012) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 58 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 0.77 | Yes | 36 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.021389
ZJ Network | Zheng et al (2011) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 164 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 25.36 | Yes | 113 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.22442
Balerma | Reca and Martinez (2006) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 454 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 4 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 25.2 | Yes | 443 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.056885
KL Network | Kang and Lansey (2012) | Graeme Dandy |  | Yes | Yes | Loop | Yes | No | No | Yes | Yes | 1274 | No | No | No | Yes | N/A | 0 | 0 | N/A | N/A | Yes | 1 | Yes | 0 | Yes | No | No | No | 0 | 0 | 0 | No | No | No | Yes | 7.69 | Yes | 935 | No | No | Yes | No | No | No | N/A | No | No | No | No | No | No | No | No | 0.0082246