Part 1 	GENERAL INFORMATION AND PURPOSE

  - UNIVERSITY OF KENTUCKY REFRIGERANT MANAGEMENT PLAN (RMP)

- The purpose of the University of Kentucky’s Refrigerant Management Plan (RMP) is to establish the institutional framework necessary for the University to comply with Title VI of the Clean Air Act (CAA), Stratospheric Ozone Protection. The U.S. Environmental Protection Agency (EPA) developed specific regulations contained in 40 CFR 82, Protection of Stratospheric Ozone, to comply with the CAA. Although there are multiple subparts to regulation 40 CFR 82, the University is subject to 40 CFR 82, Subpart B, Servicing of Motor Vehicle Air Conditioners; 40 CFR 82, Subpart F, Recycling and Emissions Reduction; and 40 CFR 82, Subpart H, Halon Emissions Reduction. These regulations establish requirements for the service, maintenance, repair, and disposal of appliances containing ozone depleting substances (ODS) or non-ODS substances.

- Appliances that contain ODS or non-ODS substances (refrigerants) throughout the University include air conditioners, refrigerators/freezers, HVAC, chilled water fountains, chillers, motor vehicles, and in the case of halons, fire and explosion protection equipment. The University requires all employees, contractors, or vendors that handle, order, service, maintain, repair, or dispose of refrigerants, refrigerant appliances, or halons to comply with this program.

Part 2 	REQUIREMENTS

    - Ensure refrigerants are not knowingly released or disposed of during installation, maintenance, service, repair, disposal, or recovery.

    - Ensure only certified technicians are used for work that is reasonably expected to violate the integrity of the refrigerant circuit.

    - Provide Environmental Management Department, Air Quality Compliance Manager (AQCM), with copies of technician’s certifications that conducted installation, maintenance, or removal of appliance.

    - Complete and submit form AQ-FORM-101 to AQCM when installing refrigerant appliances, other than small appliances.

    - Complete and submit form AQ-FORM-201 or AQ-FORM-301 to AQCM when conducting maintenance/service/repair on appliances containing 50 pounds or more of class I, class II, or a blend of class I and class II refrigerant per circuit.

    - Complete and submit form AQ-FORM-401 to AQCM when disposing of appliances with more than 5 pounds of refrigerant per circuit.

Part 3	FORMS

- AQ-FORM-101, New Refrigerant Appliance (pg. 2-3)

- AQ-FORM-201, Maintenance of Refrigerant Appliance (pg. 6-12)

- AQ-FORM-301, Leak Inspect-Detect Refrigerant Appliance (pg. 19)

- AQ-FORM-401, Disposal of Refrigerant Appliance (pg. 22-23)

Part 4	WHERE TO SEND FORMS

UK Environmental Management Dept.

Air Quality Compliance Manager

355 Cooper Dr.

Lexington, KY 40506