1.		PLUMBING INSPECTION

Plumbing inspections will be performed throughout the construction in accordance with the Kentucky State Plumbing Code (815 KAR 20:150 Inspections and Tests or superseding publications).

The cost and scheduling of these inspections is to be the responsibility of the Contractor.  The Contractor must submit to the University the Plumbing Certificate from the Department of Housing, Buildings, and Construction.

The Contractor is expected to have the plumbing system installed per the drawings, specifications, and plumbing code prior to any inspection.  The Contractor may, at any time, be required to demonstrate compliance to the Owner or Engineer.

2. 		WATER SAMPLE REPORT

The Contractor is responsible for the disinfection of all new, repaired or extended domestic water systems.  This process will be as required by the State Plumbing Code and the Local Health Department.

The Contractor must submit to the local Health Department the required water samples for analysis.  The required quantity and sample point(s) will be as determined by the Engineer.  The "Water Sample Report" must be submitted to the University.