Floor heights shall remain level at all thresholds and/or transitions between flooring material.  Contractor shall remove subfloor material and/or provide trowelable underlayment as required to allow for flush and level transitions between surfaces.