Provide insulating materials that comply with requirements and with referenced standards and for preformed units, in sizes to fit applications indicated, selected from manufacturer's standard thicknesses, widths and lengths.

- Batt insulation shall not be exposed in any area of the building.  It must be encapsulated ie: as installed between drywall.  This shall include insulated walls that extend above the ceiling.

- Batt insulation shall not be installed on ceilings of any type.

- Batt insulation shall not be allowed to come in contact with any moisture. Contaminated material shall be removed and replaced with new material.